Date Paid:

1649 W Parks Hwy, Wasilla

907-373-2424 * 1-888-291-2444

$5.00 Water Analysis

Name 		Beds/ Baths?

Address		Any Filters?

Softener?			Well (pub. or pvt.)?

Phone 		Odors or Taste’s?

E-MAIL:_________________________________________________________________________

Notes:________________________________________________________________

pH   _________________

6.9-7.5 is normal range. The pH test measures acidity or alkalinity. Low pH may cause corrosion. Above 7.5 indicates excessive alkalinity and may cause unpleasant taste.

Total Hardness   _______________  gpg (grains per gallon)

Less than 3 gpg is good. This test measures the amount of the mineral’s calcium and magnesium in water. Hard water minerals cause spotting on dishes, scale build-up in pipes, water heaters and appliances. Scale build-up causes increased energy costs and shortens the life of hot water appliances.

Dirt and Sediment _______________

A visible inspection for dirt and sediment over 40 microns in size. Dirt and sediment will eventually clog working parts of water using appliances.

Total Iron  ________________  ppm (parts per million)

Less than .3 ppm is best. This test measures the total amount of all types of iron in water. Over .3 causes brown, red, orange or yellow staining on fixtures, dishes, and laundry.

Total Dissolved Solids  _______________  ppm (parts per million)

A test to indicate the amount of solids dissolved in water. 200 is a good starting point. Less TDS will improve taste and more TDS will decrease water palatability.

DATE TESTED/ INITIAL:____________________________________________________________

Recommendation’s:____________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________