Date Paid:

Arsenic Test: $45.00

Yes

__________________

1649 W Parks Hwy, Wasilla

907-373-2424

$5.00 Water Analysis

Name:                                                                       Pre-existing Treatment:

Sample Address:

Phone #:                                                                    Occupancy/Baths:

E-mail:	             Well (pub/pvt):

Odors/Tastes:

Customer concerns:

pH   _________________

6.9-7.5 is normal range. The pH test measures acidity or alkalinity. Low pH may cause corrosion. Above 7.5 indicates excessive alkalinity and may cause unpleasant taste.

Total Hardness   _______________gpg (grains per gallon)

Less than 3 gpg is good. This test measures the amount of the mineral’s calcium and magnesium in water. Hard water minerals cause spotting on dishes, scale build-up in pipes, water heaters and appliances. Scale build-up causes increased energy costs and shortens the life of hot water appliances.

Dirt and Sediment ________________________________

A visible inspection for dirt and sediment over 40 microns in size. Dirt and sediment will eventually clog working parts of water using appliances.

Total Iron _______________ppm (parts per million)

Less than .3 ppm is best. This test measures the total amount of all types of iron in water. Over .3 causes brown, red, orange, or yellow staining on fixtures, dishes, and laundry.

Total Dissolved Solids______________ ppm (parts per million)

A test to indicate the amount of solids dissolved in water. 200 is a good starting point. Less TDS will improve taste and more TDS will decrease water palatability.

DATE TESTED/ INITIAL: ____________________________________________________________

Recommendations:____________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________